## 2.1	PD: Problem Definition

### Practice example: Parametric solar farm design

We can also define the design of solar farms with a few variables:

- Tilt angle: How the solar panel is oriented in the vertical direction. An appropriate tilt angle orients a solar panel towards the Sun.

  - 0º = flat (parallel to the ground)

  - 90º = vertical

  - In the photo on the right, the front panels have a lower tilt angle, and the back panels have a higher tilt angle

- Row width: Each row of solar panels may have multiple sub-rows. A wider row casts a longer shadow.

RW = 1				RW = 2				RW = 4

- Because most solar farm designs follow a similar pattern, we can define another variable called “inter-row spacing”. Look at the two examples below:

- Can you provide a definition for “inter-row spacing”?

| Definition of inter-row spacing (IRS) |  |
| --- | --- |

2. Imagine you have sketched the solar farm design shown below:

- The width of the field is approximately 50m.

- There are 8 rows of solar panels, equally spaced throughout the field.

Now you need to calculate the parameters of this design:

- Can you calculate the approximate inter-row spacing of this design? (Assume the IRS is measured center-to-center, not edge-to-edge, see the orange arrow in the above figure.)

- Now that you know the IRS, can you describe a way to calculate the position of each solar panel row using its row number (1-8) and IRS? Feel free to respond with text, pseudo code, or any other format.